[image: image1.png]PPPPPP




QuickStart Guide for

· KYPipe

· Surge

· GoFlow

· Gas

· Steam

· SWMM

Installation Instructions

System Requirements

Demonstration Examples

LICENSE AGREEMENT
This is a legal agreement between the user and KYPipe LLC. By accepting, using or installing any portion of this software the user agrees to be bound by the terms of this agreement.
SOFTWARE LICENSE
GRANT OF LICENSE: For each license purchased from KYPipe, LLC, or one of its authorized distributors, KYPipe LLC grants to the user the right to use one copy of the software program(s) on a single terminal connected to a single computer (i.e., with a single CPU). The user may not network non-network versions of the software or otherwise use single user versions on more than one computer terminal at the same time. Network versions are only to be used with one physical site (buildings at the same mailing address) and are not to be used in a WAN environment. WAN licenses may be used only for the number of sites licensed. The number of network licenses purchased for a network version is the maximum number of users permitted to run the software concurrently. If granted for an evaluation period by KYPipe LLC, user agrees not to use the software beyond the evaluation period specified by KYPipe LLC. The user agrees not to utilize features, options, or number of pipes beyond the license the user has purchased.
COPYRIGHT: The software and the documentation are owned by KYPipe LLC and are protected by United States copyright law and international treaty provisions. The user must treat the software like any other copyrighted material except that the user may make one copy of the software solely for backup or archival purposes or may transfer the software to a single hard disk and keep the original disk(s) sole for backup or archival purposes. The user may not copy the written materials accompanying the software without explicit written permission from KYPipe, LLC.
TRANSFER BY USER: The user may not rent, lease, assign or permit others to use the software but may transfer the software and accompanying materials on a permanent basis provided the user retains no copies and the recipient agrees to the terms of this agreement. As a condition to permit the recipient use the software under this License Agreement, when such a transfer is made, KYPipe, LLC must be notified, in writing, of the transfer, including the identity and address of the recipient, and the agreement of the recipient to the terms of this License Agreement. 
OTHER RESTRICTIONS: The user may not modify the software. The user may not reverse engineer, decompile, disassemble, or otherwise attempt to determine the source code of the software. The user shall protect the software from unauthorized use, and shall protect the software and the intellectual property from infringement by others. The user shall notify KYPipe, LLC, in writing, immediately upon receiving any information that would indicate that the software is being used in an unauthorized manner or the intellectual property is being infringed.
DISCLAIMER
Although every reasonable effort has been made to ensure that the results obtained are correct, neither the author(s) nor KYPipe, LLC assumes any responsibility for any results or any use made of the results obtained with these programs. THE SOFTWARE IS SOLD AS IS WITH NO IMPLIED WARRANTIES, INCLUDING WARRANTIES OF MERCHANTABILITY AND FITNESS FOR ANY PARTICULAR PURPOSE. NO EXPRESS WARRANTY EXISTS EXCEPT AS SPECIFICALLY SET FORTH IN WRITING BY KYPIPE, LLC. IN NO EVENT, REGARDLESS OF THE NATURE OF ANY CLAIM, WILL KYPIPE, LLC, ITS MEMBERS OR AFFILIATES, BE LIABLE FOR ANY LOSS FOR PERSONAL INJURY, BUSINESS INTERRUPTION, LOST PROFITS, OR INCIDENTAL OR CONSEQUENTIAL DAMAGES, AND ITS LIABILITY, IF ANY, SHALL BE LIMITED TO THE PURCHASE PRICE OF THE SOFTWARE.
USE OF THE DOCUMENTATION AND PROGRAM
The documentation is provided for the use of individuals or companies which purchase it from KYPipe, LLC. Except for back-up copies, the program disks or documentation may not be copied, marketed, or distributed without explicit written permission from KYPipe, LLC. For users who wish to use the programs on networks or multiple computers or different locations, network copies and multiple copy discounts may be obtained. Please contact KYPipe, LLC for details. 
GOVERNING LAW AND VENUE FOR ENFORCEMENT AND DISPUTES
This Agreement will be governed by and construed in accordance with the substantive laws of the Commonwealth of Kentucky, and, to the extent federal law applies, to the laws of the United States. The state and federal courts of Fayette County, Kentucky, shall have exclusive jurisdiction over any claim brought against KYPipe, LLC, and the user agrees to submit to the jurisdiction of the state and federal courts of Fayette County, Kentucky, in the event any claim is brought against the user, and user waives all defenses to jurisdiction and inconvenience of forum.
Pipe2012 QuickStart Guide – Contents
Computer Requirements...................................................................................................................2 

Updating Pipe2012............................................................................................................................2
Pipe2012 Installation and Key Options..............................................................................................3 
Demo Installation………………..............................................................................................................3 
Pipe2012 KYnetic Interface………………………………………………………………………………………………………….4

Contacting Us – Software Development and Support Team............................................................5 
Pipe2012 Help and Tutorial Videos...................................................................................................7 
Network Elements……………………………...............................................................................................8 
Laying out a Pipe System……...........................................................................................................11 
QuickStart Example………………………………........................................................................................12 
Demonstration Examples................................................................................................................15

Computer Requirements

For outstanding performance the minimum RECOMMENDED system for PIPE2012 is:

· 2 gigahertz (GHz) or faster processor 

· 4 gigabyte (GB) RAM 

· 200 GB available hard disk space

· Windows XP or later

· 1280 x 800 screen resolution or higher

Updating Pipe2012

You can update Pipe2012 to the current version by visiting the support | download area of our website http://www.kypipe.com.  Because we update the image frequently (to add features, update compatibility, or fix reported issues) you should visit our www site regularly to update your software.

Pipe2012 Installation and Key Options

You may install the software on as many computers as you like (work, laptop, and home).  Only computers with access to one of the Key Options below will run the software at the full license level.  With the Portable Hardware USB Devices, if you need to do a presentation for a client, for example, you can simply unplug the key from your main computer and insert it into your laptop.  

Demo Installation – no key required.

1.  Download the latest version from the web site and unzip the file to a User location, e.g. Desktop.

2.  Browse to the location of the unzipped files.  Run (double click) the setup.exe file.

3.  After installation, use the Pipe2012 KYnetic shortcut to access the new interface or use the Pipe2012 Classic shortcut to access the original interface.

Key Options

Portable Hardware USB Devices:

USB Key – The current default key type.   Hardware device for local and LAN Network licenses.  Device may be a silver USB device with key chain and logo provided by the KYPipe Software Office or a USB storage device provided by the user.   May be remotely created and modified.

Wibukey – Hardware device for local and LAN network licenses.  This is a blue-green USB device with key chain which is being phased out of use.   May be remotely modified, but not created.

Software Keys - Dedicated Location:

Softkey  - Software key for local (non-network) installations only (on a hard drive, not portable).  The key may be moved to another dedicated location.  Contact the KYPipe Software Office for instructions.  May be remotely created and modified.   The key may be moved to another dedicated location, contact the KYPipe Software Office for instructions.  For multiple model licenses, must quit Pipe2012 to change to a different model (e.g. change from KYPipe to Surge).

LAN-WAN – For Pipe2012 versions 6.000 and higher only.  Software key for any network application, both LAN and WAN (on a hard drive, not portable).  Computer hosting key does not need to have Pipe2012 installed and key location does not need to be mapped.   May be remotely created and modified.   The key may be moved to another dedicated location, contact the KYPipe Software Office for instructions.

We have worked very hard over the years to enhance and improve upon the software.  Many of the features and changes are the result of feedback of our users.  If something does not seem to be working correctly or if you have feature suggestions please call Jana at 812-843-4145 or Bill Gilbert at 859-257-4941.

Pipe2012 KYnetic Interface
As part of the Pipe2012 release, we are excited to introduce an all-new user interface, Pipe2012 KYnetic.  For a narrated tour of Pipe2012 KYnetic, go to www.kypipe.com.

To launch:  Start |All Programs |Pipe2012 and use the Pipe2012 KYnetic shortcut.  
[image: image2.jpg]



Pipe2012 Classic Interface

.  

To launch:  Start |All Programs |Pipe2012 and use the Pipe2012 Classic shortcut
[image: image3.jpg]) Pipe2014 [county water sys

e e ] N, ===

File Edit View Analyze Labels Contours Cursornotation Facilties menagement Tools Help

K¥Pipe: US gallons/min Eq: HW Table Index# Node334 Node Information
Map | Map Settings | System Data| Other Data| Setups/Defauits | Report |

IName[PUMP-1 ‘Dh_ﬂ J)
XIS | ||Head| Flow Eff%

Elevation 725 2

——— — |l200 280

Sp Ratio| 12 225 450
—_—r 0

Pump Type _Help
| Table i

Device Data More Device Data
oV Time[0 Pump Res|0

CVRes[o
Byps Res|0

¥ Check Valve
I NonReopen CV
I Bypass Line

Analyze[ P [Flow | N [Pressure | A < 3 B <ol





<!DOCTYPE HTML PUBLIC "-//W3C//DTD HTML 4.0 Transitional//EN"><!-- saved from url=(0035)http://www.kypipe.com/developt.html -->Contacting Us - Software Development and Support Team

The following individuals are involved in the Software development including the Pipe2012 Series models, KYPipe, Surge, Gas, Steam, GoFlow, and SWMM and directly support the software.
<DIV align=center>
	PRIVATE<TBODY>Don J. Wood
	Ph.D, Civil Engineering
	(859) 492-6097
	Don@kypipe.com

	Srinivasa Lingireddy
	Ph.D, Civil Engineering
	(859) 519-2494 
	Srini@kypipe.com

	Bill Gilbert
	BS, Civil Engineering
	(859) 257-4941
	Bill@kypipe.com

	Doug Wood
	MS, Computer Engineering
	(859) 263-0401
	Doug@kypipe.com

	Jana Faith
	BS, Civil Engineering
	(812) 843-4145
	Jana@kypipe.com</TBODY>


</DIV>
KYPIPE LLC
3229 Brighton Place    Lexington, KY 40509-2314
Phone: (859) 263-2234    FAX: (859) 263-0401
Visit our WWW site at www.kypipe.com
Visit our www site regularly to check for updates which can be downloaded. 
Demo versions of Pipe2012 also can be downloaded as can the AVI tutorials.
Continuous research and development over the past 30 years has resulted in the most advanced hydraulic modeling capability available. Some noteworthy results of this very high level of development include:

1. Development of the full equation set approach for network hydraulics utilizing the Newton-Raphson linearized approach for solving the network equations. This is the most robust algorithm available for solving the complex and sometimes ill conditioned hydraulic relationships.

2. Development of enhanced network equations which allow direct calculation of design, operation and calibration parameters.

3. Development of a powerful general approach for transient flow in simple or complex pipe networks.

4. Application of genetic algorithms to optimize network hydraulic and water quality calibrations and operations.

5. Development of an effective time averaging water quality model.

6. The hydraulic model incorporates devices such as automatically adjusting regulating valves (pressure and flow), variable speed pumps, flow meters, switching capabilities to control valves and pumps, etc.

7. Extension of our steady state network models to compressible flow (gas and steam). 

Our focus for many years has been hydraulic modeling. The University of Kentucky team of academics and of engineers is, perhaps, the world's leading group of experts in this area. They have been most successful in quickly developing their advanced hydraulic modeling technology for use by practicing engineers

Over the last several years, high level computer engineers and engineering software developers have added their expertise to our product.  Advanced graphical interfaces enhance the KYPipe and SURGE modeling environment. These engineers have worked very closely with our hydraulic modeling team of experts to develop a wide range of extremely advanced capabilities to simplify and speed up the essential modeling tasks and to provide additional useful capabilities.  By incorporating suggestions and concepts provided to us by our large and knowledgeable user base, we have developed a truly outstanding environment for all aspects of hydraulic and water quality modeling. The ergonomics and capabilities of KYPIPE4 and SURGE are, by far, the best available anywhere at any cost.

The advanced graphical environment, PIPE2012, has been adapted to other models, analyzing gas (Pipe2012 : Gas), steam (Pipe2012 : Steam), fire sprinkler systems (Pipe2012 : GoFlow), transient flow (Pipe2012 : Surge), and stormwater (Pipe2012 : SWMM).

User support of our software is provided directly by our team of experts. This situation assures that the level of support is very high. Providing this level of support fosters a very close relationship between the development team and the users. Engineers who have used previous versions of our software will recognize that many of the new features and capabilities are ones they had wished for or suggested to us.

Online Help

Under Help in the main Pipe2012 menu, search the index for topics for which you have questions.
Pipe2012 Tutorial XE "Tutorial"  (Audio/Video)
Tutorial videos are contained on the USB device or online at www.kypipe.com under Support. 
From the USB Key:  Insert your Pipe2012 USB key to begin the tutorial.  When the menu pops up select  Start Tutorial.  If it does not pop up then use Windows Explorer to browse to your USB drive and run the Pipe2012Tutorial application.  
When the Tutorial Subject menu pops up select KYPipe, Surge XE "Surge2000" , GoFlow, Gas, Steam or SWMM.  You may switch to a different subject by clicking the Tutorial Subject button at any time.  For KYPipe users there is also an advanced tutorial entitled KYPipe2012 Advanced. 
The tutorial menu has Play and Pause buttons and a Trackbar that allows you to back up or advance the presentations at any time.  The video clips are grouped according to their purpose.  It is recommended that you review the Pipe2012 GUI and Model Development clips prior to using Pipe2012.  The additional clips may be reviewed as you utilize the capabilities which they address. 

Network Elements XE "Elements:Network Elements" 
Insert the Pipe2012 program CD to see the Elements tutorial.
Pipe distribution systems are constructed using the following two elements:

1. Pipe Links

2. Nodes
All development is carried out using only these two elements.  Important definitions are illustrated in the picture below and the following descriptions:
[image: image4.png]end node (reservoir)

Pipelink (4 pipe segments)

Internal node (intermediate)
nternal node (onioff vaive)

end node (unction)




Pipe Links
Pipe links are uniform sections of pipes (same basic properties) following any route.  A pipe link may be comprised of one or more pipe segments.  A pipe segment is a straight run of pipe with no internal nodes.
Nodes
Nodes are located at the ends of pipe segments and include all distribution system devices that are modeled.  
· Internal nodes - are located between two pipe segments.  
· End nodes - are located at the ends of all pipe links and can connect other pipe links, represent a dead end or a connection to a supply. 
· Text nodes - can be located anywhere on your map and are used for adding information to your map.  
*End nodes count as nodes used for your model while internal and text nodes do not.
Internal Nodes
 XE "Internal Nodes" 
Internal nodes are located between two pipe segments of identical properties.  The intermediate node is usually a point where a directional change occurs while the other internal nodes (valve, hydrant, in-line meter, metered connections, and check valves) are devices or model elements located in a pipe link.  From the modeling viewpoint, internal nodes are essentially passive devices (they do not directly affect the calculation), although they do provide added modeling capabilities.  Internal node types can be interchanged.  They also can be changed to an end node at anytime.  However, end nodes can be changed to internal nodes only if there are exactly two connecting pipe links with identical pipe properties.  
1. Intermediate Node -          [image: image5.png]



No device at this location - usually represents a change of alignment.  To delete all intermediate nodes see Deleting Intermediate Nodes
.2. Valve-                                [image: image6.png]



Indicates location of cut-off valves.  The minor loss for this inactive valve is not automatically included in the network analysis or the report.  To account for a minor loss due to a valve, the user may enter the loss as a pipe fitting or using the active valve element.
3. Hydrant -                          [image: image7.png]



Indicates location of fire hydrants.
4. In-line Meter -                 [image: image8.png]



Indicates presence of an in-line meter for pipe link.  It is used for EPS reports of total flows.
5. Metered Connections -    [image: image9.png]


  
Indicates location of metered connections.  Meter ID 
may be specified to interface with meter records.
                                                  [image: image10.png]D [Meter2
Type R v
Demand 57





6. Check Valve (Directional) -      [image: image11.png]



Indicates device in pipe link that prevents flow reversal.  The correct direction (flow allowed in direction indicated) must be selected in the pipe link. 
7. Customized Device -          [image: image12.png]


  [image: image13.png]



Two additional internal nodes can be used to represent any desired devices (such as air release valves).

End Nodes
 XE "End Nodes" 
End nodes are located at each end of all pipe links.  End nodes represent both passive connections, such as junctions and connections to supplies, and active elements, such as pumps.  One or more pipe links can connect to a common end node.  For non-directional end nodes (junctions, reservoirs, tanks, variable pressure supplies, and sprinklers), pipe links can be connected in any manner.  For directional end nodes (pumps, loss elements, and regulators), an inlet and outlet connection point are shown and pipe links must be connected to the appropriate side of the element so that the direction indicated is correct.  Pumps and loss elements (but not regulators) can connect (on one side) directly to a reservoir.  This condition is modeled when no pipe link connections are made to one side of the element.  This side is then modeled as a constant head reservoir and the reservoir head must be specified with the input data.  All end node types can be interchanged.  If a change is made from a non-directional to a directional node, the pipe links will connect arbitrarily.  It is necessary to make sure that the direction is correct and the pipe links are properly connected.  However, an end node can be changed to an internal node only if there are exactly two pipe links and the basic pipe link properties are the same (except length and minor coefficients).  If the properties are not the same, the change to an internal node will be possible only if an option to utilize common properties is accepted.
1. Junction -                            [image: image14.png]



A connection of one (dead end junction) or more pipe links.
2. Reservoir    -                      [image: image15.png]



A connection of one or more pipe links to a constant level reservoir.  During a simulation, the reservoir level remains constant unless data is provided to change its value.
3. Tank -                                  [image: image16.png]



A connection of one or more pipe links to a variable level storage node. For EPS (extended period simulations) level changes are calculated.
4. Variable Pressure Supply -                         [image: image17.png]



A connection of one or more pipe links to a supply where the supply pressure depends on the supply flow and is determined by using pressure flow data provided.  
5. Sprinkler (Pressure Dependent Outflow) - [image: image18.png]



A connection of one or more pipe links to a point where flow is discharged based on the pressure in the distribution system.  The characteristics of a connecting pipe may be defined (length, diameter, elevation change).  This device can model a leak or a pressure sensitive demand.
6. Pumps (Directional) -                                  [image: image19.png]



A connection of one or more pipe links to a pump.  The pump direction must be set and pipe links connected to the appropriate sides.
7. Loss Element (Directional) -                      [image: image20.png]


 
An element identical to a pump except instead of a head gain, a head loss occurs. 
                                                        [image: image21.png]



8. Regulator (Directional) -                         [image: image22.png]


  
A connection of one or more pipes is required to each side of the device that maintains downstream pressure (pressure regulating valve), upstream pressure (pressure sustaining valve) or flow (flow control valve).  The direction must be set and the pipe links connected to the appropriate side.
                                                                  [image: image23.png]NamefRv-1 |
[Reguiator =]

Elevation [300

—

Setting 50

—

Regulator Type
Fev-1 <

=




9.  LE Library (Back Flow Preventer) - [image: image24.png]


  
A special loss element for which head flow data is provided based on manufacturer, model, and size.  See Loss Elements Library.
                                                           [image: image25.png]Narne[BFP-1

BFF -

Elevation|122

e

fype [RPD 7]

X

Mendor| CME (FE ¥
Model [ 826D =

Diam |4

“ 13




10.  Active Valve -                                   [image: image26.png]


 
A valve which may be opened and closed and for which the minor loss is included in the network analysis.  See Active Valve.
                                                            [image: image27.png]Namefav-1 |
[active vabve 7]
Elevation 10

—

tesistwo 50

_—

Init Ratio[J

idRatiol__

Walve Type





Laying Out a Pipe System
Pipe2012 is designed to provide a very simple, intuitive interface for your pipe system development.  All development is done in ‘Layout’ mode.  When you are not developing or modifying your system, you should select a different mode (usually ‘Fixed’) so you will not inadvertently modify the layout.  The layout and subsequent modifications are done with the following operations.  Insert the Pipe2012 program CD to see the Building a Model 1 and 2  tutorials.
1. Select a Node or Pipe Link - Point to node or pipe and LC (left click).
2. Add Pipe Segment and Node - Select starting node (existing) and point mouse to ending node location (new) and RC (right click).
3. Add Pipe Segment - Select starting node (existing) and point mouse to ending node location (existing) and RC (right click).
4. Move Node -  Point mouse to node and hold down left mouse button - drag to the new location.
5. Add Internal Node - Point mouse to desired location in pipe link and LC (left click).  Click ‘Insrt’ (Pipe Information Window) and select internal node type from pop-up list.
6. Change Node Type - Select node and click on current node type selector (below name) and select from node type pop-up list (Node Information Window).
7. Delete Internal Node - Select internal node and click on ‘Del’ (delete) in the Node Information Window. **** Note that this will combine the two connecting pipe segments into one segment eliminating the internal node.  To delete all intermediate nodes in a system, see Deleting Intermediate Nodes.
 8. Delete End Node - Select end node and click on ‘Del’ (delete) in Node Information Window.  **** Note that this will also delete ALL the pipe links connecting the node.  If you do not wish to do this, change the node type to a junction.
9. Delete Pipe Link - Select pipe and click on ‘Del’ (delete) in Pipe Information Window.
10. Change Node Direction - For directional end nodes (pumps, loss elements and regulators), select node and click on [image: image28.png]


 in the Node Information Window.  The   symbol in the node icon will change direction.  You can do this to correct your model or to improve the appearance of the directional node.
11. Change Pipe Direction - The positive pipe direction (for referencing flows, etc.) is from Node 1 to Node 2.  To reverse this, click on  [image: image29.png]Reverse



  (Pipe Information  Window).  It is necessary to insure pipes with check valves are in the correct direction.  
12. Change Pipe Link Connection - For pipe link connections to directional nodes, click the [image: image30.png]


 symbol adjacent to the directional node (Pipe Information Window).  You will see the link connection  change to the other side of the directional node. 
As you layout your system (using operation 2), intermediate nodes are automatically inserted at all changes in alignment.  These are automatially changed to junction nodes if only one or more than two pipes are connected or if the properties of the two connecting segments differ.

Quick Start Example
 XE "Quick Start Example" 
Step  1  -  Initial Preparation
Step  2  -  System Layout
Step  3  -  Analyze System and Review Results
Step  4  -  Some Additional Simulations
Insert the Pipe2012 CD to see the QuickStart Example 1 - 4 tutorials.
This will guide you through the complete layout development, data entry and hydraulic analysis of a simple pipe network.  We recommend that you run Pipe2012 in as high a resolution as your monitor can display such that it can be comfortably read.  We recommend the following Windows 95/NT settings:
Monitor Size          Display Setting
14" or 15"              1024 x 768
17"                        1280 x 1024
21"                        1600 x 1280
Step  1  -  Initial Preparation
Initial steps include file selection, background preparation and system data selections.
a.  file selection
You can access an existing data file or, as for this demonstration, create a new one.  Click on  File  (top menu box) and select  New.
b.  system data selection
The New File setup screen appears.  As a minimum you need to specify the flow units and head loss equation to use.
Click on the Units drop down list and select GPM.  The default head loss equation showing (Hazen-Williams) and the defaults showing for data features are all acceptable.
Click on MAP to return to the Pipe2012 map.
c.  background preparation
You can import a drawing map, utilize grid lines or choose not to use a background.  For this demonstration we will turn on a grid and use it to guide our layout letting Pipe2012 calculate pipe lengths.  
Click on  Map Settings / Grids   -  The default grid settings of  1000 (major) and  100 (minor) are good for our demonstration so we will use them.
Click on Major Grid  and Minor Grid  check boxes.  This will display background grid lines.
Click on  Map  to return to the Pipe2012 map.
Step  2  -  System Layout
The map area which appears on the screen will show a region approximately  1000 x 1000  feet with the  100 foot grid lines displayed.  This area will be appropriate for the demonstration.  A larger or smaller region can be displayed by clicking on the zoom in  ( + )  or  a zoom out ( - ) button on the left side.
[image: image31.png]Reservoir B
210 250

210 0

Reservoir A

a
200 30_ 200 210





Figure  1  Example pipe system
The system we wish to lay out is shown above drawn on a  100 foot grid system.  It is a loop fed by Reservoir A  (HGL = 300) and discharges into Reservoir B  (HGL = 250).  The node elevations are noted.  This is followed by the reservoir HGL's at the two reservoirs.  The pipe material, diameter and roughness is noted for each pipe in a box.  Points (a) and (b) are shown for reference in the discussion below.  The development of the pipe system model is accomplished in three steps.
a.
layout pipes and nodes
The entire piping system can be laid out using the mouse and a right click (RC) to add pipes and nodes and a left click (LC) to select a node.  The following operations will produce the system layout:
1) RC on gridline intersection to make first node  
2) move mouse  300 feet (3 blocks) to right and  RC (a)  
3) move mouse  200 feet up and RC  
4) move mouse  200 feet right and RC  
5) move mouse  200 feet down and RC (a)  
6) move mouse  200 feet left (back to existing node) and RC  
7) select node at  (b) and move  100 feet up and  100 feet to left and RC
Now all the pipes and nodes are laid out.  Note all nodes are either junction or intermediate nodes and Pipe2012 has assigned pipe and node names.

b. 
change node types
Select any nodes which are different than shown and change to the correct node type.  To do this  select the node and click on drop down node list (Node Information Window  -  below Name) and select desired type from list. 
1) Select node at Reservoir A (LC) and change node type to Reservoir  
2) Select node at Reservoir B and change node type to Reservoir
The system should now look as shown below.  
[image: image32.png]R-1

Pt





Figure  2  Completed pipe system layout
c.  provide data
Select each pipe and end node and provide data
1. Select each pipe and click  Pipe Type  (Pipe Information Window) and select choice from drop down list.  Select ductile:  250:6  for pipe from Reservoir A  and  pvc:  150:4 for the rest.  Note that default roughness values are provided.  Provide appropriate Fittings Data (elbow for pipes with 90o bend, for example 
2. Select each Reservoir and provide values shown for Grade (HGL) and Elevation  
3. Select each junction and intermediate node, enter Elevation
d.
save data file
Provide a name and save your data file
Click on File (Main Menu) and Save As  and provide a file name in the popup menu. Such as QSI  (for Quick Start example 1). 
Step  3  -  Analyze System and Review Results
a.
check data and run analysis  
1. Click  Analyze  (Main menu) and select  Error Check.  If errors are flagged correct these.  If the message "No Errors" appears proceed 
2. Click  Analyze  (Main Menu) and select  Analyze System  and click  Analyze  on the popup menu to accept the defaults  (Analyze with  KYPipe, Use Current Year)
b.
review results
The results can be reviewed on the schematic using Results Labels or by looking at the tabulated output.  
1. Click on  Output  (Main tabs) and scroll through the tabulated summary of data and results.  If the  Page Up  and  Page Down  keys don't work click anywhere on the screen to activate them.  Click on  Maps  (Main tabs) to go back to your system graphical display.  
2. Click on  Labels  (Main menu)  and select  Pipe Results | Pipe Result A  and  Node Results | Node Result A  to show the results depicted in the  Results Selection bar on the bottom right of the screen.  You can click on the  P  selector to change the pipe results  (to Flow, for example) and the  N  selector (Pressure for example) to change to the node results.  A helpful selection is Loss  (head loss) for pipes and  HGL for nodes because it provides a very useful view of the system operation. Printouts based on these selections are shown (Figure 3 and  4). 
[image: image33.png]ODES Pressure

IPES Fiowrate

43.3

703>




Figure  3  Case 1 - Pressure and Flow
[image: image34.png]NODES HGL

PIPES Head Loss

300

i




Figure  4  Case 1 - Loss and HGL
Step  4  -  Some Additional Simulations
It is very easy to modify data and run a new simulation.  Several are described:
a.
age based roughness
Rerun the analysis but this time click on  Use Current Year  to remove that requirement and enter the year  2023  (25 years from now).  The analysis now shows a significant change in pipe roughness due to aging and a substantial decrease in the capacity to transport water from Reservoir A to Reservoir B. A printout showing flows and pressures illustrate this (Figure 5). 
[image: image35.png]ODES Pressure

IPES Fiowrate

43.3

74 6]





Figure  5  Case 2 - 25 years (2023)
b.
add a pump
We want to add a 40 HP (useful horsepower) pump in the line leading form Reservoir A  about  100 feet from the reservoir.  To do this  Click on  (LC)  the pipe at the desired location and click on Insrt  (Pipe Information Window - button) select  Intermediate Node .  Now select the intermediate node (LC on node) and change node type to  Pump.  Select the pump and select  Constant Pwr  (power) for Pump Type and input  40 (HP) for the Power and  210 (ft.) for the elevation (Node Information Window).  Now analyze the system and note the effect of this pump which provides around 136 feet of head and nearly doubles the flow.  A printout showing flows and pressures is shown (Figure 6).
[image: image36.png]7.3

NODES Pressure
PIPES Fiowrafe





Figure  6  Case 3 - Added  Pump

KYPipe and Surge Demonstration Examples
KYPipe - Regular Simulations
KYPipe - Extended Period Simulations
KYPipe - Other Capabilities
Surge
Surge Protection
Optimized Calibration
Water Quality (EPANET)
A simple pipe system representing the main pipes of a small municipal distribution system is shown in Figure 1.  This system is used to demonstrate the use of KYPipe2012 for regular and extended period simulations and Surge for surge analysis.  A number of modeling features may be demonstrated using the data files provided in the DEMO subdirectory. We suggest that you run the demonstration files with a screen resolution of 1024 by 768 or higher if possible.
[image: image37.png]



Figure 1  Pipe System Layout for Demonstration Examples
KYPipe - Regular Simulations
Click on File (Main Menu) and Open and select the file Demoreg (in the demo subdirectory) using the browser.  You  should get the pipe system and map shown in Figure 1.  The Demoreg file sets up the baseline analysis (Case 0) and two additional scenarios (Cases 1 and 2).  
Case 0 - The pump is running with normal demands
Case 1 - The pump is off and the tanks supply the system
Case 2 - The pump is off and a fire demand of 650 g.p.m. is placed Junction J-13
You can see normal demand patterns specified by clicking on Labels (Main Menu) and selecting Junction Demands and Type.
To run the analysis, click on Analysis (Main Menu), select Analyze System and make sure that KYPipe is selected before you click Analyze.  Once the analysis is complete, you can click on Report to see the tabulated report.  There are many advantages to viewing the results graphically using several KYPipe2012 features.
1) Results Labels: Click on Labels, Pipe Results, and Pipe Result A and repeat for Node   Results and Node Results A.  This will display flow rates (in g.p.m.) for each pipe and the pressure (in p.s.i.) for each node for the baseline data (Case 0).  Figure 2 shows this display You can use the Results Selector bar at the bottom of the screen to select different parameters for nodes (drop down list for N (node) box) and pipes (drop down list for P (pipe) box) and look at Cases 1 and 2 using the arrows in the A  case/time selection box.
[image: image38.png]Pipe2000 [DEMOREG] CP[democity1]
Fie Edt View Anapze Move Labek Facliies Management Tools Help

[K¥Pipe: GPM_Eq HW T sble indox It Node-52
Map Settings | System Data | Other Data | Setup/Defauts | Report |

[P [Fiow v N [rres v A KefCase0 3




Figure 2  Results Labels, Case 0

2) Contours: Contours are very effective means for showing results.  Show pressure contours for Case 2 to illustrate this feature.  Make  sure Pres (pressure) is selected in the N box and Case 2 in the A  box (Results Selector bar).  Click on Map Settings and Emphasis/Contours and select Pressure (parameter).  The contour values should be set at 20, 30, 40, 50, and 60.  Click on Show Contour, then Map (top tabs) to return to the map.  The pressure contours should be displayed (if not, click the Refresh button).  Figure 3 shows this display.   
[image: image39.png]Pipe2000 [DEMOREG] CP[democityl]
Fle Edt View Anspze Move Labels FacliiesManagement Tools Help

[K¥Pipe: GPH_Eq: HW Tablo Index # Node-52.
Map | Map Settings | System Data | Other Data | Setup/Defaults | Report |

Node Pressure]
Case 2

X B11 Y 8968





Figure 3  Contours, Case 2
3) Profiles: A profile plot showing the pipeline profile and head profiles provides a very useful tool.  To display this, click the Group button and select a starting node (J-13), upper center- dead end, and an ending node (the clear well reservoir).  Next, click Analyze (Main Menu) and Profile and Create Profile from Leftmost Selected Node.  The profile shown in Figure 4 will be displayed.  The envelope of heads for the three cases will be displayed if Show Envelope is selected.  Select Time/Case A and Time/Case B and the profiles for the cases selected in A and B (Results Selector bar) will be displayed.  You can provide an Upper (or Lower) Head Limit to see if your heads exceed the limits.
[image: image40.png]Original Data

i





Figure 4  Profile, Case 0

KYPipe - Extended Period Simulations
Click on File and Open and select the file Demoeps.  This file sets up a 24 hour EPS at hour increments.  Select System Data and EPS to see this setup.  A 24-hour demand pattern based on data provided by AWWA is used.  This pattern can be viewed by clicking on Setup/Default and Demand Pattern.  Click Map to return to the map.  For this simulation, the pump is controlled by the level of water in Tank 1 (T-1).  When the water level drops below 737 feet, the pump comes on and goes off when the water level reaches 753 feet.  Click Other Data and Control Switches to see this setup.
[image: image41.png]Map | Map Settings System Data | Other Data | Setup/Defauits | Report |
Simulation Specs | Other [EPS | Reparts | Preferences | Skeletanize/Subset |

Use EPS W

Total Time (hrs) |24 Starting Time (hrs 0-24) [0

Report Time Style [Miltary Time

Compuatianal Period (hrs)

Repart Period (hr) [7

Default Power Cost (§fkwhn) [312

Intermediate Reports




Figure 5, System Data / EPS
[image: image42.png]Map | Map Settings | System Data | Other Data Setup/Defaults | Report |
Pipe Type | Fittings | Sliders/Precision | Change Pattemns [Demand Patterns || Table Setup

Load | Save | Clear | Total Time P2 Time Inc

Pattem Name [AWWA. dmt Global Demand Factor
/Change
Power Cost
Residential|
Type 1 03 02 021 020 02 0% 05 091 12

Type 2





Figure 6  Setup/Defaults / Demand Patterns - AWWA demand pattern
[image: image43.png]Map | Map Settings | System Data  Other Data | Setup/Defaults | Report |
Control Switches | Canstraints | Calibration | Qualiy | Meters | Lass Element (BFF) | Active Valves

Switch Units [HGL (t or m)

controlled [ Ton/ [ Tsensing [T below/ [ Tow [ Toni [0 T T high
element off node between | level off level

pump-1 s on  when T-1 lis below 73 and of when above 753




Figure 7  Other Data / Control Switches
Analyze the system (click Analyze and select Analyze System).  KYPipe should be selected from the submenu.  After the analysis is complete, the results can be viewed using the tabulated report, labels, contours, and profiles as described previously.  An additional method of viewing results, which is particularly useful for EPS, is the use of Node Graphs and Results Tables, which are accessed as follows.  Select a node and turn on the Rslt  button (Node Information Window on right side of display).  Turn off the other three buttons.  You will see a Node Graph and a Results Table of a node result (the result type (pressure, head, etc.) will be determined by the parameter selected in the N box (Results Selector box).  Click on Full to see a full screen display of the Node Graph or Results Table.  Click Small to return to the map.  If you carry out these operations with the Group button selected, you can produce graphs and tables with results for multiple nodes.  Pipe graphs and tables are produced in a similar manner by selecting one or more pipes.
[image: image44.png]Map

[KYPipe: GPM_Eq: HW Table Index § HNode:29

Map Settings | System Data | Other Data | Setup/Defar ¢ |

Node Information

[

Large

Node Graph

Print

Full | Axis| Setup|

Results Table

Large

Print

Full | Rng

Setug)

Pressure

e .4

o
o

'
3
9
s

w2
w3
s
s
w83
w2





Figure 8  Results Table and Graph for Selected Node

KYPipe - Other Capabilities
The demonstration files may be used to demonstrate other Pipe2012 capabilities.
System Curves:
 A system curve is a plot of required head vs. flow at a location (node) where a pump is to be positioned.  KYPipe2012 will produce a system  curve which can be plotted with pump curves to aid with pump selection.  To illustrate this, load the Demoreg file.  The junction downstream from the pump (J-13) is used for the system curve node and the setup may be seen by clicking System Data and Other.  The required data appears under System Head Curve Data and includes the junction (J-3) and the maximum flow rate (2,000 g.p.m.) used to develop the system curve.  Click on Map to display the map.  The pump should be shut off to develop the system curve so select the pumps (in Layout Mode) and click the On/Off switch in the upper left corner of the Node Information Window.  A red X should appear through the pump indicating that it is off.  To produce the System Curve, click Analyze, Analyze System, and select System Head Curve before clicking Analyze.  The analysis will do 11 simulations with flows 0 to 2,000 in increments of 200 g.p.m.  The results for the system curve are summarized at the end of the Report (select Report and scroll to the end).  The best way to view the results is with a plot of the system curve and any available pump curves.  Click on Facility Management (Main Menu) and Pump Curves.  When the graph appears, select the items to display for the choices shown on the left side.  Click on SC for the system curve and any numerical tags displayed for Pump ID’s (in this case, there is just one).  The graph shown below will appear.  The intersection of the System Curve and a pump curve indicates the operating point for that pump.  To return to the map, close this window.
[image: image45.png]Map

Average Residential Meter Demand

Map Settings | System Data |

Pipe Scale Factor <) [1

Other Data | Setup/Defautts | Report |

Simulation Specs Other |EPS | Reports | Preferences | Skeletonize/Subse |

System Head Curves Data

Pipe Scale Factor 7) [0

Simulatian Memo

Junction |43

Flow Rate [2000




Figure 9  System Data / Other - Setup for System Head Curves
[image: image46.png]



Figure 10 - System Curve
On/Off Valves - Pipe Break: 
Pipe2012 models can include on/off valves (Ä) which can be used to control the open/closed status of any pipe link.  In Layout Mode, select a valve and click on the On/Off  switch in the upper left corner of the Node Information Box.  A red X through the valve will indicate the valve and corresponding pipe is closed and a closed pipe will appear as a thin dashed line.  In Group Mode, you can select multiple valves and check On or Off in the Edit Node Set box  to set the status of the selected valves.
The Pipe Break feature will identify the valves which need to be closed to isolate the location in the pipe system which you indicate.  This is done by clicking Facility Management and selecting Pipe  Break.  Then move the Ø symbol to the location to isolate and click.  The display will show the area  to be isolated and the valves to be closed.  To obtain a report of the valves to be closed, click on  Facility Management and Pipe Break Report.

[image: image47.png]Map Settings | System Data | Other Data | Setup/Defauls | Repart|





Figure 11  Pipe Break Simulation
Images:
A bitmap image (.BMP file) can be associated with each node.  This feature will allow the user to provide additional information about each node.  Three such images are loaded for the file Demoreg.  In Layout mode, click on the valve in the upper center of the system.  Click Full in the Node Title box on the left and you will see a hand drawn sketch showing the valve location in the field.  Click Small (upper left) to return to the map.  Click on the valve just to the left of the pump and repeat this process to see a schematic of the valve details.  Click on the pump and repeat the process to see a photograph of a pumping facility.
[image: image48.png][KYPipe: GPM Eq: HW Table Index § Hode:7

Retrest
Tais

ZAl
Zwin

Map | Map Settings | System Data | Other Data | Setup/Defauits | Report |

Lige

Node Information

ol o g 5

(el
Node Title

Node Image
IV Show on Man
I~ Show All

Print | (58]

Ful

Load| Clear|





Figure 12  Node Image - Valve Map
[image: image49.png]‘SHoPPING CIR,





Fig 12a  Valve Map - Large Size


Hydrants:
Pipe2012 models may include fire hydrants and has some special modeling capabilities for hydrants.  This includes plotting test data and using the model to calculate fire flows.  Eight fire hydrants are included in the Demoreg file.  If you don’t see the hydrants, click View and Show Hydrants to activate their display.  In Layout mode, select the hydrant in the upper center of the system.  In the Node Information window, you will see the pertinent hydraulic data (elevation, static and residual pressure, and residual flow).  Make sure the Data button is on (the rest should be off).  The pressures and flow inputs are for field measurements.  Click on Graph and a plot will appear based on either the Test Data or Calculated Data.  Select Test Data and you will see that AWWA recommended fire flow data plot projects a fire flow of around 840 g.p.m. at 20 p.s.i.  If you change the selection to Analysis Data, you will get a similar plot based on model calculations.  These calculations are obtained by going into Group mode and selecting the hydrants of interest and then performing an analysis selecting the Fireflow Analysis option.
[image: image50.png]Hydrae Tos Graph

s

Gu





Figure 13 Fireflow Plot
Calculation Year (age based roughness):
Pipe2012 allows users to carry out simulations for a future date and projects the pipe roughness based on Pipe Type data provided by the user.  This data includes a Reference Roughness (usually the new pipe roughness) and an Estimated 10-Year Roughness.  To utilize this feature, a reference year is input for each pipe (the year the pipe roughness is the reference roughness - usually the year the pipe was installed).  For the Demoreg file, the reference year is 2001 for all pipes.  A reference roughness of 130 was input for the new ductile iron pipe and an estimated 10-year roughness of 119-122 was used based on the pipe size.  You can see this data by clicking on Setup/Defaults and Pipe Type.  Now you can do an analysis for a projected date of 2026 (25 years) by clicking on Analysis, Analyze System and turn off the Use Current Year switch so it will use the year 2026 shown in the box below.  You can enter any year you want into this box.
[image: image51.png]Map | Map Settings | System Data | Other Data  Setup/Defaults | Report |
Pipe Type | Fittings | Sliders/Precision | Change Pattems | Demand Patterns | Table Sstup |

Quick Load a New Pipe Schedule

Sot | Load | Sawe | Clear | SaveAcDefault | Load Defautt |

 Use Estimated 10yr Roughness Use Calibrated 10yr Roughness

119
120
121
122





Figure 14  Pipe Type Table Showing Roughness Data


After the analysis is complete, you can view the Report and see the calculated roughness values (106-113) and can note that due to the increase in roughness, the pressure at junction J-13 has dropped from around 20 p.s.i. in 2001 to 5.6 p.s.i. in 2026. 
[image: image52.png]PIPELINE DATL
STATUS CODE: XX -CLOSED PIPE  CV ~CHECK VALVE
PIPE NODE NANES LENGTH DIANETER ROUGHNESS  MINOR

NANE #1 #2 (g8 tin) COEFF. LOSS COEFF

P-1 a2 a-10 2844.00 6.00 106.5534 0.00
P-10 a-10 a-1a 1645.00 5.00 108.6849 0.00
P-11 a-10 a-11 2801.00 6.00 106.5534 0.00
P-12 a-12 a-16 1464.00 5.00 108.6849 0.00
P-13 a-12 11 2393.00 8.00 108.6849 3.40
P-1a a-15 a-1 2550.00 8.00 108.6849 0.00
P-15 a-16 a3 1735.00  10.00 110.8154 0.00
P-16 a-a a7 1545.00 5.00 108.6849 0.00
P-17 a-a a-1a 2950.00 8.00 108.6849 0.00
P-18 a-1a a8 1942.00 8.00 108.6849 0.00
P-13 a7 a-10 3447.00 8.00 108.6849 0.00
P2 a3 a-15 2060.00  10.00 110.8184 0.00
P-20 a7 a-13 1238.00 6.00 106.5534 0.00
P21 Punp-1 R-1 292.00  12.00 112.9479 7.50
P-3 9-3 Pump-1 190.00  12.00 112.9479 6.40
P-a a-1 T2 2337.00 5.00 108.6849 1.90
P-s a-1 a5 3296.00 8.00 108.6849 0.00
P-s a5 a-s 1983.00 6.00 106.5534 0.00
P7 a5 a-a 678.00 5.00 108.6849 0.00
P-g a8 a-12 2633.00 8.00 108.6849 0.00
P-s a8 a-s 3138.00 6.00 106.5534 0.00




Figure 15  Calculated Roughness Values
Pipe2012 : Surge
Click on File and Open and select the file Demosurg.  This file is identical to the file Demoreg except for the addition of the data required for surge analysis.  For this demonstration, the pump is shut down which will produce a transient that starts with the steady state conditions with the pump operating and terminates with the pump off and the tanks supplying.  These are cases 0 and 1 for the Demoreg file for the steady state KYPipe2012 demonstration.
One additional pipe data item is required - wave speed.  In Layout Mode, click on a pipe and the Data button (Pipe Information) and you will see the wave speed (Wv Spd) displayed.  The value can be entered here or included in the Pipe Type table where it will be entered automatically when the Pipe Type is selected.  A tool for calculating wave speed is provided.  Click on Tools (Main Menu), then Wave Speed, select Ductile Iron, and use 8 inch diameter with 0.25 inch wall thickness and a wave speed of around 4,100 ft/s will be calculated.
Review the System Data to note differences for surge analysis.  Click System Data and Simulation Specs. The required entries are Units and Equations.  The rest will default but you may wish to override these - especially the Total Simulation Time which defaults to 10 seconds but is entered as 20 seconds for this demonstration.  Click Other to access a second system data screen.  You should provide a node for the Screen Plot Node which appears while the transient is being calculated.  The best way to do this is to select the desired node before you access this screen and then click Use Selected Node.  Click Map to return to the map.
The Change Data is very important data that defines the cause of the transient.  For this demonstration, a 2 second pump shutdown is simulated starting 1 second into the simulation.  Click on the pump and the Change Data (Chng) button in the Node Information window (turn off the other buttons so the Node Changes box can appear).  You will see the setup for the pump speed ratio change which stays at 1 (speed/rated speed) for 1 second then ramps down to 0 at three seconds.  Also note that a check  valve is specified for the pump.  Click on Data (Node Information) to see the Surge Device Data box where the check valve is selected and the closure time and resistance are defined.
The surge analysis has been already run for this demonstration file and there are extensive results to be reviewed.  The most effective means are viewing pressure (or head) verses time plots and pipeline profiles with the head envelope displayed.  In addition an extensive tabulated report is generated for both the transient and steady state results.
Time Plots:
Select a node and turn on the results (Rslt) button (Node Information).  One of the Results boxes which appear in the Node Information Window is Node Graph. You may need to turn off other buttons to see the plot which is shown in this box.  For the demonstration, select node J-13 (upper left center).  Click on Full to see a full screen plot of the pressure transient.  Note that there is cavitation (- 30 feet of head) at around 8 seconds during this  transient.  Click Small to return to the map.
[image: image53.png]Node Information

Pressure





Figure 16  Node Results Graph
Profiles:
Click the Group button (left side) and select node J-13 and the reservoir to produce a pipeline profile between those nodes.  Click Analyze, Profile and Create Profile from Leftmost Selected Node.  The profile will appear.  Click Maximize.  Make sure Show Envelope and Time/Case A is selected.  If you provide the y axis range of Minimum Elevation = 500 and Maximum Elevation = 1,000 (turn off Default Y Axis selection), the profile will be well scaled.  You can watch the change in the head line by clicking the rightmost arrow in the A box (Results Selector - bottom).  This steps forward in increments of 5% of the total simulation time.  Close the profile window. 
Tabulated Reports:
Click on Report to access the two tabulated reports.  You can switch between the report for the initial steady state conditions and the transient analysis by clicking Load/Swap.  Of particular interest is the table of maximum/minimum heads which appears at the end of the transient analysis report. 
[image: image54.png]Time 8.955

2

B friow =] N [rres





Figure 17  Profile
[image: image55.png]SUNMARY OF MAXINUN AND NININUN HEADS

POSITION NO. MAXINUN  NININUN  Time hvg. Frac. Time TWF
(£t (£t Intr. Fact reverse grad.

a-1 237.56 42.82 0.000  0.000 0.00
a-10 275.62 ~12.96 0.000  0.000 0.00
a-11 324.49 3321 0.000  0.000 0.00
a-12 22530 38.87 0.000  0.000 0.00
a-13 293.53 3321 0.000  0.000 0.00
a-1a 268.22 6.54 0.000  0.000 0.00
3-15  249.73 -13.95 0.000  0.000 0.00
a-16 227.23 10.17 0.000  0.000 0.00
a2 a79.86 -33.21 0.000  0.000 0.00
a3 zaz.es -8.15 0.000  0.000 0.00
a-4 279.31 3.41 0.000  0.000 0.00
a-s  azs.28 -33.21 0.000  0.000 0.00
a-s 27172 -1.03 0.000  0.000 0.00
a-7 zes.as -13.03 0.000  0.000 0.00
a-8  243.66 29.83 0.000  0.000 0.00
a-s  z87.28 —33.21 0.000  0.000 0.00
Punp-1 17.02 -17.55 0.000  0.000 0.00
R-1 s.00 s.00 0.000  0.000 0.00
T-1 120.00 120.00 0.000  0.000 0.00
T2 124.00 124.00 0.000  0.000 0.00
Pump-1 240.73 -12.29 0.000  0.000 0.00




Figure 18 Maximum and Minimum Heads
Surge Protection
Because of low transient pressures which reached cavitation pressure at a number of nodes, a second surge analysis was carried out with a closed surge tank positioned just downstream from the pump.  When the pump loses power with an associated rapid flow reduction, the surge tank supplies flow to compensate for the loss of flow and thereby reduce the pressure surge.  A second demonstration data file is provided to illustrate this application. Click on File and Open and select Surgtank.  You should see a zoomed in view of the area of the pump showing the surge tank.  This file is identical to the Demosurg file with the exception of the surge tank. The surge tank was added by inserting an intermediate node at the location and changing the Node Type to Closed Surge Tank. Click on the surge tank and the Data button (Node Information) and the surge tank data appears in two boxes including the Device Data box.  The tank is a 4 foot vertical cylindrical vessel which is initially half full of air (62.8 ft³).  The inflow and outflow resistance of 0.1 will give a 0.1 foot head loss at a flow of 1CFS.
[image: image56.png][Surce GPM_Eq- 1w Table indor it Node:37

Map Settings | System Data | Other Data | 84| ¥ || oeljverd G oo
T

Diamter]
Init Level

Gas Val

Exp Con

|





Figure 19  Surge Tank and Data
Click on the Zoom All (Z All) button to show the entire system.  The analysis has been conducted so select junction J-13 to see the effect of the surge tank on the pressure surge.  Click on the Rslt  button (other buttons should be off) and click on Full to see the full screen plot.  You can create the profile and view the tabulated results as described for the previous demonstration.  
[image: image57.png]



Figure 20  Node Results Graph
KYPipe - Optimized Calibration
Click on File and Open and select the DemoCal file to see a demonstration of the Pipe2012 Optimized Calibration module.  You may wish to review the "What is a Pipe2012 Optimized Calibration?" topic before you go through the demonstration.
Figure 21 shows a network schematic with the test results of four fire flow tests displayed.  
[image: image58.jpg]FIRE FLOWS AND RESIDUAL PRESSURES FOR CALIBRATION (DEMOCAL)

Tank2
505GPM @36 PSI
w20

2100 GPM @39 PSI
iEL)

320 GPM @28 PSI
©-18)

‘Clear Well

350 GPM @31 PSI
©19)

Tank 1




Figure 21  Fire Flow Test Results
These include the residual flow and pressure for each of the tests.  For the calibration run, these four hydrants were converted to junctions as required to set up the calibration data.  For the demonstration, it is assumed that the boundary conditions for each fire flow test were the same and that the baseline demands and the tank levels are those used for the DemoReg file and shown in Figure 22.  
[image: image59.jpg]



Figure 22  Tank Levels and Baseline Demands
Thus, it is not necessary to enter change data for the four separate fire flow tests.  The only additional data required is the Calibration Data shown in Figure 23.
[image: image60.jpg]Map | Map Settings | System Data Other Data | Setup/Defauits | Report |

Cantrol Switches | Constraints {Callration | Quality | Meters | Library Elements | Active Vahves

Attribute used for "Pipe Type"

—

Junction Pressure Data

Dernand Talerance %

Calibration Group

Fireflow Tolerance %

Junction Flow Data

Roughness Calibration
& Adjust Roughness Coeffcients

© Adjust Aging Factors

Roughness Bounds

Pipe Flow Data

CASE [JUNCTION [PRESSURE [ <] [CASE JJUNCTION _[FLow’ FIPE TYPE [UPPER_[LOWER | <
G ® I 17 20 L] o 100
] E3 420 505 1 080
R 31 19 350 B w0
CRT] ENN S8 30 E 140 100

0

System Demand Bounds

Loss Coefficient (K) Bounds

CASE [PIPE FLOW -

CASE _ [TOLERANCE %

PIPE_[UPPER |LOWER |«





Figure 23  Fire Flow and Calibration Data
The roughness bounds were defined for four Calibration Groups selected using diameter as follows:
	Group
	Diameter

	0
	12

	1
	6

	2
	8

	3
	10


Two cases were run.  The results for the first case are shown in Figure 24.  
Percent Deviation between MEASURED and TARGET Values =   1.422
Percent Deviation between MEASURED and CALCULATED (uncalibrated) Values = 14.02
 OPTIMAL values for the Decision variables:
 Hazen William coefficients: for group number    0 =  115.  [140.0< >100.0]
 Hazen William coefficients: for group number    1 =   95.  [140.0< > 80.0]
 Hazen William coefficients: for group number    2 =   96.  [140.0< > 90.0]
 Hazen William coefficients: for group number    3 =  132.  [140.0< >100.0]
 Junction (Fire) Flow(s) for Change  1 are INCREASED by  5.00%
 Junction (Fire) Flow(s) for Change  2 are DECREASED by  5.00%
 Junction (Fire) Flow(s) for Change  3 are DECREASED by  4.03%
 Junction (Fire) Flow(s) for Change  4 are INCREASED by  5.00%
 Measured and Target pressures (psi or kPa):
    TEST        NODE      MEASURED        OPTIMAL
    CASE       NUMBER     PRESSURE       PRESSURE
  -------------------------------------------------
      1         J-17        39.0 (43.6)    39.0
      2         J-20        36.0 (37.5)    33.9
      3         J-19        31.0 (34.5)    31.0
      4         J-18        28.0 (35.7)    28.1
 Date & Time:  Mon Nov 26 08:22:52 2001
  ------- NETWORK CALIBRATION COMPLETED --------
Figure 24  First Case Results
For this calibration a 5% tolerance was introduced for the fire flows.  This means that the fireflows can be +/- 5% of the measured residual flow and accounts for a small error in this measurement.  The calibration run produced a calibration where the optimal pressure differed from the measured pressure by only 1.4% where the difference is greater than 1.4% for the uncalibrated model.
For the second case, a zero percent fireflow tolerance was used and, as expected, a larger difference of 4.5% was obtained.  These results are shown in Figure 25.
Percent Deviation between MEASURED and TARGET Values =   4.534
 OPTIMAL values for the Decision variables:
 Hazen William coefficients: for group number    0 =  103.  [140.0< >100.0]
 Hazen William coefficients: for group number    1 =  101.  [140.0< > 80.0]
 Hazen William coefficients: for group number    2 =   92.  [140.0< > 90.0]
 Hazen William coefficients: for group number    3 =  140.  [140.0< >100.0]
 Measured and Target pressures (psi or kPa):
    TEST        NODE      MEASURED        OPTIMAL
    CASE       NUMBER     PRESSURE       PRESSURE
  -------------------------------------------------
      1         J-17        39.0           38.9
      2         J-20        36.0           32.6
      3         J-19        31.0           31.0
      4         J-18        28.0           31.6
 Date & Time:  Mon Nov 26 08:19:49 2001
  ------- NETWORK CALIBRATION COMPLETED --------
Figure 25  Second Case Results
KYPipe Water Quality Analysis
A water quality analysis is generally run using an EPS file.  This is to determine the variance in the water quality parameters over a time period (generally 24 hours).  Only one screen of additional data is required to set up the water quality analysis.  To see this data, click on File and Open and select the file Demoqual.  Click on Other Data and Quality to see the data screen shown below.
[image: image61.jpg]Minimum Trael Time 1 Qualty Sinlation T [1# Atibu usd o nodes il Concentaton” [l Conc v
Masimum #0f Seqments inaPpe [| Time Unis [Fous ] Altoute sed for nodes sl Age” [lnial Age ]
Global Buk Reaction Rate [125 Quity Time Step 01 At snt e s Bl Fotin P [ o]
(Global Wall Reacton Rete [08 Qualty Parameter [Chemical ] R T

Difusity (s sec) 1 369 =] ChamicallName Jchiorne
Updte Tables
Tank Source Data Node Source Data
Tank Initial Concentration Pattern Bulk Reaction Rate | Node _Initial Concentration Pattern 4|
T-1 03 —
-2 03
Reservoir Source Data Pattern Data (Multipliers)
Reservoir Initial Concentration Pattern 4| |Pattern# 0.01 0.02 0.03 0.04 005 4
+[]





Figure 26  Water Quality Data
The Bulk and Wall Reaction Rates are set for all pipes using the global value shown rather than inputting values for each pipe.  A Simulation Time of 144 hours is chosen to provide ample time for the solution to reach a repeatable condition.  For this example a Chemical analysis is chosen and the chemical name input as Chlorine to determine the chlorine residuals.  We could choose to calculate the age of the water (select Age) or trace the origin of the water (select Trace).  One additional useful data input is the Initial Concentration of chlorine at each node.  You can take no action and this parameter will be assigned an initial value of zero.  However, a reasonable estimate of this value will provide the solution more quickly and accurately.  Since the chlorine is supplied at 2 ppm, a value of 1 ppm is used for the initial concentration and this data is assigned by using the Gbox (Group Mode) to select the entire system and the Edit Node Set to assign a value of 1.0 to the Initial Concentration.  When this is done the User Data for each node should display this data as shown below:
[image: image62.jpg]User Data

Initial Conc.
1
Initial Age

Manufacturer

Model





Figure 27  User Data with Initial Concentration
The Water Quality Analysis is then run by selecting Analyze / Analyze System and Water Quality.
Once the analysis is completed the results are reviewed.  Figure 28 shows the results for the minimum and maximum chlorine levels.  This is obtained by selecting Chlorine in the N Box (Results Selector) and Node Results/Node Results Min and Max under Labels.
A plot of the variations in the chlorine residuals at various nodes can be shown as illustrated in Figure 29.
[image: image63.jpg]\'

g
/' Q@Q

"R Qp J

%@ I 5
e
S
l TN ’4&175
O Z
X /\ —- @
S0y SN /W 7
R P 0
V) Y Va Ve, 08 |
AT T .

&
NTR o
ﬁ\p%/< ‘Q'QQU

rrrrr

% \' L et
e & T SO <
%%ﬁ%@ SYRE k
e 79,{

=] % Dojfotown





Figure 28   Min/Max Chlorine Residuals
[image: image64.jpg]06





Figure 29   Chlorine Residuals at Selected Nodes
2
2

